## Sheet1
SR NO | Location | Gateway ID | Gateway Manufacturer | MFM Name | MFM Manufacturer | Device ID | Baud Rate | Data Type | Parameter-1 | Parameter-2 | Parameter-3 | Parameter-4 | Parameter-5 | Parameter-6 | Parameter-7 | Parameter-8 | Parameter-9 | Parameter-10 | Parameter-11 | Parameter-12
1 | LT ROOM + HT ROOM | 1 | Teltonica RUT 906 | Solar | Elmeasure LG 6435 | 1 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
2 |  |  |  | HRWCTL | Elmeasure LG 6435 | 2 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
3 |  |  |  | PDB1 | Elmeasure LG 6435 | 3 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
4 |  |  |  | PDB2 | Elmeasure LG 6435 | 4 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
5 |  |  |  | HRS | Elmeasure LG 6435 | 5 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
6 |  |  |  | Pickling | Elmeasure LG 6435 | 6 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
7 |  |  |  | APFC panel-1 | Elmeasure LG 6435 | 7 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
8 |  |  |  | Main Incomer-1 | Elmeasure LG 6435 | 8 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
9 |  |  |  | Main Incomer -2 | Elmeasure LG 6435 | 9 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
10 |  |  |  | CRS | Elmeasure LG 6435 | 10 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
11 |  |  |  | CRNCTL | Elmeasure LG 6435 | 11 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
12 |  |  |  | CRWCTL | Elmeasure LG 6435 | 12 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
13 |  |  |  | DG no.1 | Elmeasure LG 6435 | 13 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
14 |  | 2 | Teltonica RUT 906 | DG no. 2 | Elmeasure LG 6435 | 14 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
15 |  |  |  | CR Crane | Elmeasure LG 6435 | 15 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
16 |  |  |  | CR utility | Elmeasure LG 6435 | 16 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
17 |  |  |  | PDB 6 | Elmeasure LG 6435 | 17 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
18 |  |  |  | PDB3 | Elmeasure LG 6435 | 18 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
19 |  |  |  | HRNCTL | Elmeasure LG 6435 | 19 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
22 |  |  |  | HRNCTL -2 | Elmeasure LG 6435 | 20 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
23 |  |  |  | LBD-1 | Elmeasure LG 6435 | 21 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
24 |  |  |  | LDB -2 | Elmeasure LG 6435 | 22 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
25 |  |  |  | APFC Panel -2 | Elmeasure LG 6435 | 23 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
26 |  |  |  | HT incomer | Elmeasure LG 6435 | 24 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH | Max Demand | Harmonics | Power Factor | Frequency
27 |  |  |  | LDB RL1 | Elmeasure LG 6435 | 25 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
28 | Shop floor HR Plant(HR Compressor) | 3 | Teltonica RUT 906 | HR compressor | Elmeasure LG 6435 | 26 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
32 | Compressor Feeder | 4 | Teltonica RUT 906 | COMP B | Elmeasure LG 6435 | 27 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
33 |  |  |  | COMPC | Elmeasure LG 6435 | 28 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
34 |  |  |  | VSD Compressor | Elmeasure LG 6435 | 29 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
31 | ZLD & Boiler Area | 5 | Teltonica RUT 906 | ZLD | Elmeasure LG 6435 | 30 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
21 |  |  |  | Boiler | Elmeasure LG 6435 | 31 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
20 | ETP ECR | 6 | Teltonica RUT 906 | ETP | MFM Meter Already Exist | 32 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
19 | HRNCTL & HRNCTL2(LT ROOM) | 7 | Teltonica RUT 906 | HRNCTL | Elmeasure LG 6435 | 33 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
22 |  |  |  | HRNCTL2 | Elmeasure LG 6435 | 34 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
36 | ECR Pickling | 8 | Teltonica RUT 906 | Acid Tank 3 phase 11 kW motor-1 | Elmeasure LG 6435 | 35 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
37 |  |  |  | Acid Tank 3 phase 11 kW motor-2 | Elmeasure LG 6435 | 36 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
38 |  |  |  | Acid Tank 3 phase 11 kW motor-3 | Elmeasure LG 6435 | 37 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
39 |  |  |  | Acid Tank 3 phase 11 kW motor-4 | Elmeasure LG 6435 | 38 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
40 |  |  |  | Uncoiler 7.5 kW DC motor but incoming supply 3 phase AC | Elmeasure LG 6435 | 39 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
41 |  |  |  | Flatnner – 25 kW DC motor but incoming supply 3 phase AC | Elmeasure LG 6435 | 40 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
42 |  |  |  | Recoiler – 40 kW DC motor but incoming supply 3 phase AC | Elmeasure LG 6435 | 41 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
43 |  |  |  | 3 phase Scrubber System, 5 kW | Elmeasure LG 6435 | 42 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
44 |  |  |  | 3 phase Fume Blower 11 kW motor | Elmeasure LG 6435 | 43 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
45 |  |  |  | 3 phase Oiler Unit – 2.2 kW | Elmeasure LG 6435 | 44 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
46 |  |  |  | 3 phase Brush Roll - 4 kW | Elmeasure LG 6435 | 45 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
47 |  |  |  | 3 phase Rinse Effluent , 7. 5 kW | Elmeasure LG 6435 | 46 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
48 |  |  |  | Hyd Power Pack motor 3 phase 30 kW motor -1 | Elmeasure LG 6435 | 47 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
49 |  |  |  | Hyd Power Pack motor 3 phase 30 kW motor -2 | Elmeasure LG 6435 | 48 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
50 |  |  |  | 3 phase Incomer | Elmeasure LG 6435 | 49 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
51 |  |  |  | 3 phase Blowers | Elmeasure LG 6435 | 50 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
52 |  |  |  | 3 phase Rinse Section | Elmeasure LG 6435 | 51 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
53 |  |  |  | Air Conditioning Single phase | Elmeasure LG 6435 | 52 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH
54 |  |  |  | 3 phase Spent Acid - 2.2 kW | Elmeasure LG 6435 | 53 |  | Float | Voltage R | Voltage Y | Voltage B | Current R | Current Y | Current B | KW | KWH